# Guide 2: How to Change a Light Bulb

### Steps

- Switch off the light.

- Allow the bulb to cool.

- Carefully remove the old bulb.

- Fit the correct replacement bulb.

- Switch the light on to test.

### Contact MDC if:

- The fitting sparks.

- The fitting is damaged.

- The light still doesn't work.