# Guide 3: How to Replace a Smoke Alarm Battery

### Steps

- Identify the smoke alarm.

- Open the battery compartment.

- Remove the old battery.

- Insert the new battery.

- Press the test button.

### Contact MDC if:

- The alarm does not sound.

- The alarm appears damaged.

- The alarm is hard-wired and faulty.