Guide 3: How to Replace a Smoke Alarm Battery
Steps
1. Identify the smoke alarm.
2. Open the battery compartment.
3. Remove the old battery.
4. Insert the new battery.
5. Press the test button.
Contact MDC if:
· The alarm does not sound.
· The alarm appears damaged.
· The alarm is hard-wired and faulty.

