# Guide 5: How to Unblock a Sink

### What you'll need

- Rubber plunger

- Hot water

- Washing-up liquid

### Steps

- Remove visible debris.

- Pour hot water down the drain.

- Add washing-up liquid.

- Plunge firmly several times.

- Run water to check flow.

### Contact MDC if:

- The blockage remains.

- More than one drain is blocked.

- Wastewater backs up elsewhere.