# Guide 6: How to Unblock a Basin Waste

### Steps

- Remove hair and debris around the plug.

- Clean the waste fitting.

- Flush through with hot water.

- Check the basin drains freely.

### Contact MDC if:

- Water drains very slowly.

- You suspect a deeper blockage.