Guide 7: How to Reset a Tripped Fuse
Steps
1. Locate the consumer unit (fuse box).
2. Look for a switch in a different position.
3. Switch fully off.
4. Switch back on.
5. Check whether power returns.
Contact MDC immediately if:
· The fuse trips again.
· You smell burning.
· You see damaged wiring.

