# Guide 10: How to Repressurise a Boiler

### Important

Only follow appliance instructions where provided.

### General Steps

- Check the pressure gauge.

- Follow the manufacturer's instructions.

- Slowly increase pressure if advised.

- Check the heating system works.

### Contact MDC if:

- Pressure continues to drop.

- The boiler shows fault codes.

- There are any water leaks.