# Guide 13: How to Prevent Frozen Pipes

### During Cold Weather

✅ Keep heating on low if possible.

✅ Leave loft hatches closed.

✅ Know where your stop tap is.

✅ Report external leaks immediately.

### Contact MDC if:

- Pipes freeze.

- Pipes burst.

- Water supply is affected.